**Name/Address of Pool/Spa: Month/Year: Public Swimming Pool/Spa**

Chlorine Record Sheet

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| *Volume (Gallons):* | | | | | | | *Minimum Required Flow Rate for Turnover:* | | | | | | | | | |
| **Operator's**  **Initials** | **DATE** | **Main Drains**  **Visible?** | **Temperature** | **Free Chlorine** | **Combined**  **Chlorine** | **pH** | **Cyanuric Acid** | **Flow Rate (GPM)** | **Gates Self-Close, Self-Latch?** | **Safety Equipment in Place?** | **Total Alkalinity**  **(1X/Wk)** | **Ca Hardness**  **(1X/Wk)** | **TDS (1X/WK)** | **Estimated #**  **Bathers** | **Comments** *(Chemicals Added, Backwashing, Problems, Emergencies, Etc.)* | |
|  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 14 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 16 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 17 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 19 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 21 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 22 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 23 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 24 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 25 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 26 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 27 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 28 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 29 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 30 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
|  | 31 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |
| ***Critical Items that Require Closure:*** | | | | | | | | | ***Critical Water Quality Parameters:*** | | | | | | | |
| Emergency phone not working, pool/spa chemicals unbalanced, life safety equipment missing, required SVRS stops working, drain cover becomes detached, bottom of pool cannot be seen, pool ceases to circulate, or any other event or condition that could potentially affect the health and safety of swimmers or the general public.  **Entrances must be self-closing and self-latching, and enclosure must be secured at all times.** *Questions? Contact Environmental Health at 903-535-0037* | | | | | | | | |  | | | | *Minimum* | | *Maximum* | *Ideal* |
| pH | | | | 7.0 | | 7.8 | 7.4 |
| Free Chlorine (Pool) | | | | 1 ppm\* | | 8 ppm | 2-3 ppm |
| Free Chlorine (Spa) | | | | 2 ppm | | 8 ppm | 3 ppm |
| Cyanuric Acid\*\* | | | | 0 ppm | | 100 ppm | 30-50 ppm |
| Temperature | | | | NA | | 104°F | NA |
| *\*Min 2 ppm if using Cyanuric Acid. \*\*Cyanuric acid must not be used in hot tubs/spas, indoor pools, or brominated pools.* | | | | | | | |